ENERGIZED ELECTRICAL WORK PERMIT

[image: image1.jpg]IHG Consulting LLC




Energized Electrical Work Permit


Part I: TO BE COMPLETED BY THE REQUESTER:

Job/Work Order Number_____________

(1) Description of circuit/equipment/job location: ____________________________________________________

_____________________________________________________________________________________

(2) Description of work to be done: __________________________________________________________
_____________________________________________________________________________________

(3) Justification of why the circuit/equipment cannot be de-energized or the work deferred until the next scheduled outage:_______________________________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

_______________________________________

______________

Requester/Title






Date

Part II: TO BE COMPLETED BY THE ELECTRICALLY QUALIFIED PERSONS DOING THE WORK:

(1) Description of the Safe Work Practices to be employed: ____________________________________________ _____________________________________________________________________________________
(2) Shock Hazard Analysis: Voltage Level Phase to Phase ___________

Approach Boundaries:    Limited __________     Restricted __________     Prohibited __________
(3) Results of Flash Hazard Analysis:                                                                                             
Flash Protection Boundary: ____________    (Assumed or Calculated)

Hazard/Risk Category __________  OR  Calculated Flash Hazard at 18” ____________ 
(4) Necessary personal protective equipment to safely perform the assigned task: ___________________________          
_____________________________________________________________________________________

(5) Means employed to restrict the access of unqualified persons from the work area: ________________________           
_____________________________________________________________________________________

(6) Evidence of completion of a Job Briefing including discussion of any job-related hazards: _________________       
_____________________________________________________________________________________

_____________________________________________________________________________________

(7) Do you agree the above described work can be done safely?  YES / NO (circle: If no return to requester)
__________________________
_________
 __________________________
_________

Electrically Qualified Person(s)

Date

 Electrically Qualified Person(s)

Date

Part III: APPROVAL(S) TO PERFORM THE WORK WHILE ELECTRICALLY ENERGIZED:

_____________________________
   
______________

Approving Supervisor



Date

Part IV: DOCUMENATATION OF ELECTRICALLY ENERGIZED WORK:

I understand that the above Energized Work was completed on  ____________________









Date

_______________________________________

Administrative Supervisor
NOTE:  Once work is complete, forward a copy of this form to REM.
Phone: 859-481-6034

www.ihgconsultingllc.com

PAGE  
Phone: 859-481-6034

www.ihgconsultingllc.com

[image: image1.jpg]